## Slide 1: Introduction to Power Electronics
Arun Kumar M
Assistant Professor
Module 1
Subject Name: Power Electronics Subject Code:15EC73
K.S. SCHOOL OF ENGINEERING AND MANAGEMENT, BANGALORE - 560109
DEPARTMENT OF ELETRONICS AND COMMUNICATION ENGINEERING

## Slide 2
REFERENCES
Gopal K.Dubey : Fundamental of Electrical Drives,
2nd Edition, Alpha Science, 2001
2. Rahid H. Muhammad : Power Electronics-Devices, Circuits and Applications, 3rd Edition, Pearson-Prentice Hall, 2004
3. Subrahmanyam Vedam : Electric Drives, Concepts and Application, Tata McGraw-Hill, 2001

## Slide 3
INTRODUCTION TO
POWER ELECTRONICS SISTEM
• Definition and concepts
• Application
• Power semiconductor switches
• Gate/base drivers
• Losses
• Snubbers

## Slide 4: What Is POWER ELECTRONICS ?
DEFINITION :
Power Electronics combine :
Power static and rotating power equipment for generation, transmission and distribution of electric power
Electronics solid state devices and circuit for signal processing to meet the desired control objectives
Control steady state and dynamic characteristics of closed-loop system
Power Electronics : the applications of solid-state electronics for the control and conversion of electric power.

## Slide 5
What Is INDUSTRIAL ELECTRONICS ?
Industrial electronics can be defined as the control of industrial machinery and processes through the use of electronic circuits and systems

## Slide 6
Control
Analog / Digital
Electronics
Devices / Circuit
Power
Equipment
Static / Rotating
POWER
ELECTRONICS
Relationship of PE to power, electronics and control

## Slide 8
Source
Load
Power
Processor
Conroller
measurement
reference
Power
Input
Power
Output
Vo, io
Vi, ii
Basic Block Diagram
Task of Power Electronics :
To convert or to process and control the flow of electric power by supplying voltages and currents in a form that is optimally suited for user loads
Building Blocks :
Input Power, Output Power
Power Processor
Contoller

## Slide 9
The goal of PE is to control the flow of energy from an electrical source to an electrical load with :
  high efficiency
  high availability
  high reliability
  small size
  light (least) weight
  low cost
Power Electronics (PE) Systems
Static applications
Involves non-rotating or moving mechanical components.
Examples :
DC Power supply, un-interruptible power supply, power generation and transmission (HVDC), electroplating, welding, heating, cooling, electronic ballast.

## Slide 10: Power Electronics (PE) Systems
Drive applications
Intimately contains moving or rotating components such as motors
Examples :
Electric trains, electric vehicles, air conditioning system, pumps, compressor, conveyer belt (factory automation).

## Slide 11
Static Application : DC Power Supply
Drive Application : Air-Conditioning System
Application examples

## Slide 12
example
• Supply from TNB: 50Hz, 240V RMS
(340V peak). Customer need DC
voltage for welding purpose, say.
• TNB sine-wave supply gives zero DC
component!
• We can use simple half-wave rectifier.
A fixed DC voltage is now obtained. This is a simple PE system.
Power Conversion Concept
Average output voltage :

## Slide 13
Power Conversion Concept
How if customer wants variable DC voltage?
More complex circuit using SCR is required.
Average output voltage :
By controlling the firing angle α, the output DC voltage (after conversion) can be varied.
Obviously this needs a complicated electronic
system to set the firing current pulses for the SCR.

## Slide 14
PE GROWTH
PE rapid growth due to:
Advances in power (semiconductor) switches
Advances in microelectronics (DSP,VLSI,
microprocessor/microcontroller, ASIC)
New ideas in control algorithms
Demand for new applications

## Slide 15
Interdisciplinary

## Slide 16
1. Energy scenario
Need to reduce dependence on fossil fuel: coal, natural gas, oil, and nuclear power resource.
Depletion of these sources is expected.
Tap renewable energy resources :
solar, wind, fuel-cell, ocean-wave
Energy saving by PE applications. Examples :
- variable speed compressor air-conditioning system :
30% saving compared to thermostat-controlled system.
- Lighting using electronics ballast boost efficiency of
fluorescent lamp by 20%.

## Slide 17: Current issues
2. Environtment issues
Nuclear safety : nuclear plant remain radioactive for thousands of years.
Burning of fossil fuel
Emits gases such as SO2, CO (oil burning), SO2, NOx (coal burning), etc
Create global warming (green house effect), acid rain and urban pollution from smokes.
Possible Solution by application of PE. Examples:
Renewable energy resources
Centralization of power stations to remote non-urban area (mitigation)
Electric vehicles

## Slide 18
Conversion scheme from electric to electric by static switch
control information
POWER PROCESSOR
INPUT
POWER
PROCESSED OUTPUT POWER
dc-ac
conv.
ac-ac conversion
ac-dc
conv.
dc-dc conversion

## Slide 19: Power Electronics Circuits Symbol
Rectifier : AC-DC Converter
AC input
DC output
DC CHOPPER : DC-DC Converter
DC input
DC output
INVERTER : DC-AC Converter
DC input
AC output

## Slide 20
Power Semiconductor devices
(Power Switches)
Power switches:
work-horses of PE
systems.
Power switch
Operates in two states :
– Fully on. i.e.
switch closed.
– Conducting state
– Fully off , i.e.
switch opened.
– Blocking state
Switch ON (fully closed)
Switch OFF (fully opened)
Power switch never operates in linear mode.
Can be categorised into three groups:
– Uncontrolled: Diode :
– Semi-controlled: Thyristor (SCR).
– Fully controlled: Power transistors: e.g. BJT,
MOSFET, IGBT, GTO, IGCT

## Slide 21
Fig.3

## Slide 22
POWER ELECTRONICS APPLICATIONS
Fig.4

## Slide 23
Fig.5

## Slide 24
Fig.6

## Slide 25
Fig.7

## Slide 26
Fig.9

## Slide 27
Fig.10

## Slide 28
Fig.11

## Slide 29
Fig.12

## Slide 30
Fig.13

## Slide 35
https://www.youtube.com/watch?v=djbJm-xWo2w
https://www.youtube.com/watch?v=XKpBkVmYlNk
https://www.youtube.com/watch?v=dVvS9OJEhig
The above web links gives an introduction to power electronics and its various application areas. The videos also gives information relating to major manufacturers of power electronics components and systems.
Web links

## Slide 36: Useful Web Resources
https://nptel.ac.in/courses/108/102/108102145/
https://en.wikipedia.org/wiki/Power_electronics
https://ieeexplore.ieee.org/xpl/RecentIssue.jsp?punumber=63